## Alarms deviation
start_time | CDF | ABB
2023-11-07 14:10 | 4 | 3
2023-11-07 17:50 | 5 | 4
2023-11-07 23:50 | 8 | 7

## Period 1
time | external_id | data_set_id | start_time | end_time | type_x | description | id_x | last_updated_time | created_time | Emitter | SourceNode | SourceName | Severity | ConditionClassId | ConditionClassName | ConditionSubClassId | ConditionSubClassName | version | type_y | id_y | source | eventType | eventCategory | eventCategoryName | severity | message | eventCounter | Class | ObjectDescription | PriorityLevel | conditionName | subConditionName | changeMask | changeMaskText | newState | newStateText | quality | qualityText | ackRequired | activeTime | actorId | Shelved | AlarmState | AlarmChange | ShelvingMode | ShelvingReason | BlockedRepetitive | ShelfExpireTime | Hidden | ProcessSection | ShelvingTime | SimpleCondition | PrintoutBlocked
2023-11-07 14:15 | opcua_val_PzFOERlxrESTf63rrZxd6Q== | 140572846698809 | 1699362911757 | 1699362911757 | opcua_val_eo:i=1003 | Alarm | 1124036366301874 | 1699362918506 | 1699362918506 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 50-NXI-84187 | 809 | null | null | null | null | 2.0.0 | opcae | 114e313f-7119-44ac-937f-adebad9c5de9 | 50-NXI-84187 | Condition | 792944717 | Process(MB300) | 809 | Alarm | 155502185 | 50 | IP LinkIP-HODFault | 2 | Value | Value | 243 | Active, Ack, Severity, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 1:15:11 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 12 |  | False | False
2023-11-07 14:17 | opcua_val_56J+iDaRmEGS5devPwR0iA== | 140572846698809 | 1699363017000 | 1699363017000 | opcua_val_eo:i=1003 | Instrument 1 frozen | 8378671298050084 | 1699363027516 | 1699363027516 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 47-ZT-110001_INM | 909 | null | null | null | null | 2.0.0 | opcae | 887ea2e7-9136-4198-92e5-d7af3f047488 | 47-ZT-110001_INM | Condition | 2215437065 | Asset Condition Alarm | 909 | Instrument 1 frozen | 155502465 | 0 | FS Seawater Overboard | 1 | InstrumentFreezeMonitoring_1.FreezeStatus.Frozen | Frozen | 1 | Active | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 1:16:57 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 14:19 | opcua_val_ug0+byYRHk+qi7Hh/DlL+w== | 140572846698809 | 1699363121822 | 1699363121822 | opcua_val_eo:i=1003 | 0.00 degC | 7686211870958092 | 1699363156856 | 1699363156856 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-TIT-111111 | 709 | null | null | null | null | 2.0.0 | opcae | 6f3e0dba-1126-4f1e-aa8b-b1e1fc394bfb | 10-TIT-111111 | Condition | 792944717 | Process(MB300) | 709 | 0.00 degC | 155502537 | 10 | FS S11 Xmas tree | 3 | Lim L1 | Lim L1 | 243 | Active, Ack, Severity, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 1:18:41 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 3 |  | False | False
2023-11-07 14:19 | opcua_val_lkcR8yH500GOJQ8djVE0pA== | 140572846698809 | 1699363121822 | 1699363121822 | opcua_val_eo:i=1003 | 0.00 degC | 2909802418718626 | 1699363156856 | 1699363156856 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-TIT-111111 | 809 | null | null | null | null | 2.0.0 | opcae | f3114796-f921-41d3-8e25-0f1d8d5134a4 | 10-TIT-111111 | Condition | 792944717 | Process(MB300) | 809 | 0.00 degC | 155502538 | 10 | FS S11 Xmas tree | 2 | Lim L2 | Lim L2 | 243 | Active, Ack, Severity, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 1:18:41 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 3 |  | False | False

## Period 2
time | external_id | data_set_id | start_time | end_time | type_x | description | id_x | last_updated_time | created_time | Emitter | SourceNode | SourceName | Severity | ConditionClassId | ConditionClassName | ConditionSubClassId | ConditionSubClassName | version | type_y | id_y | source | eventType | eventCategory | eventCategoryName | severity | message | eventCounter | Class | ObjectDescription | PriorityLevel | conditionName | subConditionName | changeMask | changeMaskText | newState | newStateText | quality | qualityText | ackRequired | activeTime | actorId | Shelved | AlarmState | AlarmChange | ShelvingMode | ShelvingReason | BlockedRepetitive | ShelfExpireTime | Hidden | ProcessSection | ShelvingTime | SimpleCondition | PrintoutBlocked
2023-11-07 17:51 | opcua_val_QF4EC3XOXU6xdMX1N93JCQ== | 140572846698809 | 1699375849000 | 1699375849000 | opcua_val_eo:i=1003 | Instrument 1 frozen | 1030507848080289 | 1699375858507 | 1699375858507 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 47-ZT-110001_INM | 909 | null | null | null | null | 2.0.0 | opcae | 0b045e40-ce75-4e5d-b174-c5f537ddc909 | 47-ZT-110001_INM | Condition | 2215437065 | Asset Condition Alarm | 909 | Instrument 1 frozen | 155514850 | 0 | FS Seawater Overboard | 1 | InstrumentFreezeMonitoring_1.FreezeStatus.Frozen | Frozen | 1 | Active | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 4:50:49 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 17:52 | opcua_val_mrpWOCViOES2Q5C9vjOQMg== | 140572846698809 | 1699375922394 | 1699375922394 | opcua_val_eo:i=1003 | Alarm | 8978995399142159 | 1699375928701 | 1699375928701 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 50-NXI-127104 | 709 | null | null | null | null | 2.0.0 | opcae | 3856ba9a-6225-4438-b643-90bdbe339032 | 50-NXI-127104 | Condition | 792944717 | Process(MB300) | 709 | Alarm | 155514885 | 50 | FN AlarmRS2 net22 | 3 | Value | Value | 243 | Active, Ack, Severity, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 4:52:02 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 4 |  | False | False
2023-11-07 17:52 | opcua_val_2mW0CWLh0keljSYyRdI/vw== | 140572846698809 | 1699375927271 | 1699375927271 | opcua_val_eo:i=1003 | Alarm | 8746827123696265 | 1699375997882 | 1699375997882 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 65-PDSL-40609A | 709 | null | null | null | null | 2.0.0 | opcae | 09b465da-e162-47d2-a58d-263245d23fbf | 65-PDSL-40609A | Condition | 792944717 | Process(MB300) | 709 | Alarm | 155515013 | 13 | WP Loss O.P.Alarm | 3 | Value | Value | 193 | Active, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 4:52:07 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 6 |  | False | False
2023-11-07 18:00 | opcua_val_LsgRsbxkXE6jWp1QtibVeg== | 140572846698809 | 1699376391822 | 1699376391822 | opcua_val_eo:i=1003 | 0.00 degC | 4631981075223234 | 1699376428856 | 1699376428856 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-TIT-111111 | 809 | null | null | null | null | 2.0.0 | opcae | b111c82e-64bc-4e5c-a35a-9d50b626d57a | 10-TIT-111111 | Condition | 792944717 | Process(MB300) | 809 | 0.00 degC | 155515430 | 10 | FS S11 Xmas tree | 2 | Lim L2 | Lim L2 | 193 | Active, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 4:59:51 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 3 |  | False | False
2023-11-07 18:00 | opcua_val_zbJBWXMBt06jspWTou/k1Q== | 140572846698809 | 1699376391822 | 1699376391822 | opcua_val_eo:i=1003 | 0.00 degC | 5006251849127513 | 1699376428856 | 1699376428856 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-TIT-111111 | 709 | null | null | null | null | 2.0.0 | opcae | 5941b2cd-0173-4eb7-a3b2-9593a2efe4d5 | 10-TIT-111111 | Condition | 792944717 | Process(MB300) | 709 | 0.00 degC | 155515429 | 10 | FS S11 Xmas tree | 3 | Lim L1 | Lim L1 | 243 | Active, Ack, Severity, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 4:59:51 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 3 |  | False | False

## Period 3
time | external_id | data_set_id | start_time | end_time | type_x | description | id_x | last_updated_time | created_time | Emitter | SourceNode | SourceName | Severity | ConditionClassId | ConditionClassName | ConditionSubClassId | ConditionSubClassName | version | type_y | id_y | source | eventType | eventCategory | eventCategoryName | severity | message | eventCounter | Class | ObjectDescription | PriorityLevel | conditionName | subConditionName | changeMask | changeMaskText | newState | newStateText | quality | qualityText | ackRequired | activeTime | actorId | Shelved | AlarmState | AlarmChange | ShelvingMode | ShelvingReason | BlockedRepetitive | ShelfExpireTime | Hidden | ProcessSection | ShelvingTime | SimpleCondition | PrintoutBlocked
2023-11-07 23:54 | opcua_val_Du7qngTsLkSfeOCmBewhiQ== | 140572846698809 | 1699397625475 | 1699397625475 | opcua_val_eo:i=1003 | <= 200.0 barA Warning L | 747135197502514 | 1699397630030 | 1699397630030 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-PT-180983 | 704 | null | null | null | null | 2.0.0 | opcae | 9eeaee0e-ec04-442e-9f78-e0a605ec2189 | 10-PT-180983 | Condition | 666371 | Process Condition Event | 704 | <= 200.0 barA Warning L | 155543918 | 1 | HOP B09 Downhole Tubing Pres | 3 | Low | Low | 211 | Active, Ack, Severity, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:53:45 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 23:55 | opcua_val_q7PCvIIcz0m5VgoNezAmtA== | 140572846698809 | 1699397677475 | 1699397677475 | opcua_val_eo:i=1003 | <= 116.0 barA Warning L | 7319794235402592 | 1699397680164 | 1699397680164 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-PT-180283 | 704 | null | null | null | null | 2.0.0 | opcae | bcc2b3ab-1c82-49cf-b956-0a0d7b3026b4 | 10-PT-180283 | Condition | 666371 | Process Condition Event | 704 | <= 116.0 barA Warning L | 155543953 | 1 | HOP B02 Downhole Tubing Pres | 3 | Low | Low | 211 | Active, Ack, Severity, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:54:37 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 23:55 | opcua_val_sBuiRb/ExEen37j+TB5HWA== | 140572846698809 | 1699397677475 | 1699397677475 | opcua_val_eo:i=1003 | <= 116.0 barA Alarm LL | 2642927598704640 | 1699397680164 | 1699397680164 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-PT-180283 | 804 | null | null | null | null | 2.0.0 | opcae | 45a21bb0-c4bf-47c4-a7df-b8fe4c1e4758 | 10-PT-180283 | Condition | 666371 | Process Condition Event | 804 | <= 116.0 barA Alarm LL | 155543951 | 1 | HOP B02 Downhole Tubing Pres | 2 | Low Low | Low Low | 211 | Active, Ack, Severity, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:54:37 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 23:56 | opcua_val_EBmKjK3DHkOgIOq9EkhHuA== | 140572846698809 | 1699397767681 | 1699397767681 | opcua_val_eo:i=1003 | HI Alarm ActiveUnacked | 2010172395527844 | 1699397770424 | 1699397770424 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-AT-170610 | 809 | null | null | null | null | 2.0.0 | opcae | 8c8a1910-c3ad-431e-a020-eabd124847b8 | 10-AT-170610 | Condition | 2632118662 | OPC Level | 809 | HI Alarm ActiveUnacked | 155544019 | 0 | FW V06 Solid Detect. | 2 | HI | HI | 225 | Active, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:56:07 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 0
2023-11-07 23:57 | opcua_val_nuJWUHIS1Um3wFeCZAd+lg== | 140572846698809 | 1699397822226 | 1699397822226 | opcua_val_eo:i=1003 | >= 75.0 % Warning H | 534447610274629 | 1699397830583 | 1699397830583 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 81-LIT-110003 | 703 | null | null | null | null | 2.0.0 | opcae | 5056e29e-1272-49d5-b7c0-578264077e96 | 81-LIT-110003 | Condition | 666371 | Process Condition Event | 703 | >= 75.0 % Warning H | 155544066 | 1 | FS Open drain tank | 3 | High | High | 211 | Active, Ack, Severity, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:57:02 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 23:58 | opcua_val_PtlnIIxQP0u2PUeRKD6Ghw== | 140572846698809 | 1699397852791 | 1699397852791 | opcua_val_eo:i=1003 | HI Alarm ActiveUnacked | 6910552554548399 | 1699397860715 | 1699397860715 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-AT-170610 | 809 | null | null | null | null | 2.0.0 | opcae | 2067d93e-508c-4b3f-b63d-4791283e8687 | 10-AT-170610 | Condition | 2632118662 | OPC Level | 809 | HI Alarm ActiveUnacked | 155544097 | 0 | FW V06 Solid Detect. | 2 | HI | HI | 225 | Active, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:57:32 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 0
2023-11-07 23:58 | opcua_val_hVUzi/Ev/kGQfqe9W2VjNw== | 140572846698809 | 1699397901000 | 1699397901000 | opcua_val_eo:i=1003 | Instrument 1 frozen | 5813123780291138 | 1699397909843 | 1699397909843 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 47-ZT-110001_INM | 909 | null | null | null | null | 2.0.0 | opcae | 8b335585-2ff1-41fe-907e-a7bd5b656337 | 47-ZT-110001_INM | Condition | 2215437065 | Asset Condition Alarm | 909 | Instrument 1 frozen | 155544159 | 0 | FS Seawater Overboard | 1 | InstrumentFreezeMonitoring_1.FreezeStatus.Frozen | Frozen | 1 | Active | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:58:21 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False
2023-11-07 23:59 | opcua_val_38lhbnGhTE6Mo60/K1A5nA== | 140572846698809 | 1699397932678 | 1699397932678 | opcua_val_eo:i=1003 | HI Alarm ActiveUnacked | 5148398092438651 | 1699397939928 | 1699397939928 | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | opcua_val_eo:s=e102c1d1-fcbf-4903-a4da-38738aada0cc | 10-AT-170610 | 809 | null | null | null | null | 2.0.0 | opcae | 6e61c9df-a171-4e4c-8ca3-ad3f2b50399c | 10-AT-170610 | Condition | 2632118662 | OPC Level | 809 | HI Alarm ActiveUnacked | 155544191 | 0 | FW V06 Solid Detect. | 2 | HI | HI | 225 | Active, Subcondition, Message, Attribute | 3 | Enabled, Active | 0 | Good | True | 11/7/2023 10:58:52 PM |  | False | ACT | New |  |  | False | 1/1/1601 1:00:00 AM | False | 0